## Input
SYSTEM DESIGN
Module | Module # | Inverter | Inverter # | DC/AC | Area (m^2) | Nameplate DC | Total AC | Inverter DC | System Size
LG350N1C-V5 | 11 | SB3.0-1SP-US-40 | 1 | 1.27 | 18.1 | 3.852 | 3.028 | 3.135 | ~3.5kW
LOSSES/DEGREDATION
Soiling % | DC Losses % | AC Losses % | Total Losses | First Year Deg. | Normal Deg.
3 | 4.44 | 1 | 8.44 | 2 | 0.33
SYSTEM COSTS
Module | 352 | 11 | 3872
Inverter | 1325 | 1 | 1325
BOM Equipment | 0.36 | $/Wdc | 1386.7
Installation Labor | 0.4 | $/Wdc | 1540.77
Overhead | 1 | $/Wdc | 3851.94
11976.41
Permitting |  |  | 500
Grid Interconnection |  |  | 200
Sales Tax | 5% on 52% |  | 311.39
1011.39
12987.8
FINANCIAL PARA
Mortgage |  | Federal Income Tax | 15%
Debt Fraction | 100% | State Income Tax | 7%
Loan Term | 25 | Sales Tax | 5%
Loan Rate | 5% | Insurance Rate | 0.5%
Debt | 12987.79 | Inflation Rate | 2.5%
WACC | 3.95% | Real Discount | 6.4%
|  | Nominal Discount | 9.06%
INCENTIVE
ITC | Federal | 26%
| State | 0%
PTC | Federal | 0
| State | 0
IBI | Federal | 0
| State | 0
| Utility | 0
CBI | Federal | 0
| State | 0
| Utility | 0
PBI | Federal | 0
| State | 0
| Utility | 0
ELECTRICITY RATES
Utlitiy | CT
ELECTRIC LOAD
Jan | 400
Feb | 400
Mar | 400
Apr | 400
May | 500
Jun | 600
Jul | 600
Aug | 600
Sep | 500
Oct | 400
Nov | 400
Dec | 400

## Shading Analysis
System 1 | No Shading Present |  |  |  | Sample Day Shading Informaiton
Annual Energy | 5206 | kWh | Shading Information |  | 1 | 100 | Cut Down Trees?
Capacity Factor | 15.4% |  | No Trees |  | 2 | 100 | No need…
Energy Yield | 1351 | kWh/kW |  |  | 3 | 100
Preformance Ratio | 0.8 |  |  |  | 4 | 100
LCOE Real | 10.31 | c/kWh |  |  | 5 | 100
E Bill | 1192 |  |  |  | 6 | 100
E Bill w/ System | 299 |  |  |  | 7 | 100
Net Savings | 894 |  |  |  | 8 | 0
Net Present Value | 4112 |  |  |  | 9 | 0
Simple Payback Period | 11.3 | years |  |  | 10 | 0
Discounted Payback Period | 23.8 | years |  |  | 11 | 0
Net Capital Cost | 12988 |  |  |  | 12 | 0
Equity | 0 |  |  |  | 13 | 0
Debt | 12988 |  |  |  | 14 | 0
[5 empty] | 15 | 0
[5 empty] | 16 | 0
[5 empty] | 17 | 0
[5 empty] | 18 | 100
[5 empty] | 19 | 100
[5 empty] | 20 | 100
[5 empty] | 21 | 100
[5 empty] | 22 | 100
[5 empty] | 23 | 100
[5 empty] | 24 | 100
System 2 | ~20% Shading |  |  |  | Sample Day Shading Informaiton
Annual Energy | 4104 | kWh |  |  | 1 | 100 | Cut Down Trees?
Capacity Factor | 12.2% |  | Shading Information |  | 2 | 100 | Big | 800 | 1 | 800
Energy Yield | 1065 | kWh/kW |  |  | 3 | 100 | Small | 500 | 2 | 1000
Preformance Ratio | 0.63 |  |  |  | 4 | 100 |  |  |  | 1800
LCOE Real | 13.08 | c/kWh |  |  | 5 | 100
E Bill | 1158 |  |  |  | 6 | 100 | Gains from cutting trees |  |  | 2265
E Bill w/ System | 453 |  |  |  | 7 | 100
Net Savings | 705 |  |  |  | 8 | 0.525 | New Net Positive |  |  | 2312
Net Present Value | 1847 |  |  |  | 9 | 0
Simple Payback Period | 14.4 | years |  |  | 10 | 0 | 21.9661
Discounted Payback Period | NaN | years |  |  | 11 | 0
Net Capital Cost | 12988 |  |  |  | 12 | 0
Equity | 0 |  |  |  | 13 | 0
Debt | 12988 |  |  |  | 14 | 4.56
[5 empty] | 15 | 32.48
[5 empty] | 16 | 67.19
[5 empty] | 17 | 92.94
[5 empty] | 18 | 100
[5 empty] | 19 | 100
[5 empty] | 20 | 100
[5 empty] | 21 | 100
[5 empty] | 22 | 100
[5 empty] | 23 | 100
[5 empty] | 24 | 100
System 3 | ~50% Shading |  |  |  | Sample Day Shading Informaiton
Annual Energy | 2304 | kWh |  |  | 1 | 100 | Cut Down Trees?
Capacity Factor | 7.5% |  | Shading Information |  | 2 | 100 | Big | 800 | 2 | 1600
Energy Yield | 658 | kWh/kW |  |  | 3 | 100 | Small | 500 | 5 | 2500
Preformance Ratio | 0.39 |  |  |  | 4 | 100 |  |  |  | 4100
LCOE Real | 21.48 | c/kWh |  |  | 5 | 100
E Bill | 1158 |  |  |  | 6 | 100 | Gains from cutting trees |  |  | 5449
E Bill w/ System | 763 |  |  |  | 7 | 100
Net Savings | 395 |  |  |  | 8 | 9.033 | New Net Positive |  |  | 12
Net Present Value | -1337 |  |  |  | 9 | 21.15
Simple Payback Period | 24.7 | years |  |  | 10 | 51.689 | Personal Impact…
Discounted Payback Period | NaN | years |  |  | 11 | 61.683 | Enviormental Impact… On A Large Scale…
Net Capital Cost | 12988 |  |  |  | 12 | 61.68 | Tree CO2
Equity | 0 |  |  |  | 13 | 2.12 | How much CO2 can you avoid using solar panels
Debt | 12988 |  |  |  | 14 | 5.7
[5 empty] | 15 | 40.56 | Shading Percentage
[5 empty] | 16 | 83.29 | 48.3306
[5 empty] | 17 | 98.07
[5 empty] | 18 | 100
[5 empty] | 19 | 100
[5 empty] | 20 | 100
[5 empty] | 21 | 100
[5 empty] | 22 | 100
[5 empty] | 23 | 100
[5 empty] | 24 | 100
Shading Calculator
Hour 1 of Day | 100 | 58.3333 |  | 58.33
100
100
100
100
100
100
0
0
0
0
0
0
0
0
0
0
100
100
100
100
100
100
Hour 24 of Day | 100
3 Trees that account for about ~20% shading, 2 in the west and 1 in the east. 1 Big 2 Small
7 Trees that account for about ~60% shading, 4 in the west and 3 in the east. 2 Big 5 Small

## Shading Experiment 1
X @ T2 | X @ T1 | Shading Day 0 | Shading Day 150 | Shading Day 250 | Year 1 Annual Energy | Net Present Value | Normal - Shaded | Change in Energy | Shading Day 0 Close - None | Shading Day 150 Close - None | Shading Day 250 Close - None | Change in Day 0 | Change in Day 150 | Change in Day 250 | X Val | Change per Tree
47 | -17 | 64.5737 | 81.5823 | 78.2863 | 3612 | -2362 | 1600 | 39 | 6.2403 | 31.5823 | 19.9529 | 0.42045 | 0.39213 | 0.34355 | 0 | 19.5 | 48 | 1571
47.5 | -17.5 | 64.1532 | 81.1902 | 77.9427 | 3651 | -2314 | 1561 | 35 | 5.8199 | 31.1902 | 19.6094 | 0.39188 | 0.3831 | 0.33015 | 0.5 | 17.5 | 43 | 1523
48 | -18 | 63.7614 | 80.8071 | 77.6126 | 3686 | -2271 | 1526 | 34 | 5.428 | 30.8071 | 19.2792 | 0.36874 | 0.3727 | 0.33648 | 1 | 17 | 41 | 1480
48.5 | -18.5 | 63.3926 | 80.4344 | 77.2761 | 3720 | -2230 | 1492 | 33 | 5.0593 | 30.4344 | 18.9428 | 0.35347 | 0.36529 | 0.32082 | 1.5 | 16.5 | 41 | 1439
49 | -19 | 63.0391 | 80.0691 | 76.9553 | 3753 | -2189 | 1459 | 37 | 4.7058 | 30.0691 | 18.6219 | 0.33564 | 0.35676 | 0.3175 | 2 | 18.5 | 48 | 1398
49.5 | -19.5 | 62.7035 | 79.7123 | 76.6378 | 3790 | -2141 | 1422 | 35 | 4.3702 | 29.7123 | 18.3044 | 0.31487 | 0.3585 | 0.30417 | 2.5 | 17.5 | 41 | 1350
50 | -20 | 62.3886 | 79.3538 | 76.3336 | 3825 | -2100 | 1387 | 34 | 4.0553 | 29.3538 | 18.0003 | 0.30693 | 0.36453 | 0.30018 | 3 | 17 | 42 | 1309
50.5 | -20.5 | 62.0817 | 78.9893 | 76.0334 | 3859 | -2058 | 1353 | 31 | 3.7484 | 28.9893 | 17.7001 | 0.287 | 0.36972 | 0.28697 | 3.5 | 15.5 | 40 | 1267
51 | -21 | 61.7947 | 78.6196 | 75.7464 | 3890 | -2018 | 1322 | 29 | 3.4614 | 28.6196 | 17.4131 | 0.26825 | 0.3956 | 0.29116 | 4 | 14.5 | 37 | 1227
51.5 | -21.5 | 61.5265 | 78.224 | 75.4553 | 3919 | -1981 | 1293 | 30 | 3.1931 | 28.224 | 17.1219 | 0.2454 | 0.42254 | 0.27183 | 4.5 | 15 | 37 | 1190
52 | -22 | 61.2811 | 77.8014 | 75.1834 | 3949 | -1944 | 1263 | 33 | 2.9477 | 27.8014 | 16.8501 | 0.23176 | 0.22702 | 0.26355 | 5 | 16.5 | 42 | 1153
52.5 | -22.5 | 61.0493 | 77.5744 | 74.9199 | 3982 | -1902 | 1230 | 31 | 2.716 | 27.5744 | 16.5866 | 0.21557 | 0.61965 | 0.26463 | 5.5 | 15.5 | 56 | 1111
53 | -23 | 60.8337 | 76.9548 | 74.6553 | 4013 | -1846 | 1199 | 35 | 2.5004 | 26.9548 | 16.3219 | 0.20019 | 0.416 | 0.24926 | 6 | 17.5 | 26 | 1055
53.5 | -23.5 | 60.6335 | 76.5388 | 74.406 | 4048 | -1820 | 1164 | 42 | 2.3002 | 26.5388 | 16.0727 | 0.18647 | 0.40479 | 0.24066 | 6.5 | 21 | 53 | 1029
54 | -24 | 60.4471 | 76.134 | 74.1654 | 4090 | -1767 | 1122 | 26 | 2.1137 | 26.134 | 15.832 | 0.1741 | 0.40263 | 0.23846 | 7 | 13 | 32 | 976
54.5 | -24.5 | 60.273 | 75.7313 | 73.9269 | 4116 | -1735 | 1096 | 25 | 1.9396 | 25.7313 | 15.5936 | 0.16928 | 0.37627 | 0.22529 | 7.5 | 12.5 | 33 | 944
55 | -25 | 60.1037 | 75.3551 | 73.7016 | 4141 | -1702 | 1071 | 20 | 1.7703 | 25.3551 | 15.3683 | 0.14338 | 0.3648 | 0.22848 | 8 | 10 | 23 | 911
56 | -26 | 59.9603 | 74.9903 | 73.4731 | 4161 | -1679 | 1051 | 80 | 1.627 | 24.9903 | 15.1398 | 0.42469 | 1.0936 | 0.63665 | 9 | 40 | 106 | 888
57 | -27 | 59.5356 | 73.8966 | 72.8365 | 4241 | -1573 | 971 | 32 | 1.2023 | 23.8966 | 14.5031 | 0.22787 | 0.73695 | 0.40505 | 10 | 16 | 28 | 782
58 | -28 | 59.3077 | 73.1597 | 72.4314 | 4273 | -1545 | 939 | 34 | 0.97441 | 23.1597 | 14.0981 | 0.18482 | 0.67812 | 0.39151 | 11 | 17 | 13 | 754
59 | -29 | 59.1229 | 72.4816 | 72.0399 | 4307 | -1532 | 905 | 34 | 0.78959 | 22.4816 | 13.7066 | 0.14253 | 0.70213 | 0.37172 | 12 | 17 | 15 | 741
60 | -30 | 58.9804 | 71.7794 | 71.6682 | 4341 | -1517 | 871 | 28 | 0.64705 | 21.7794 | 13.3349 | 0.12127 | 0.75513 | 0.34604 | 13 | 14 | 15 | 726
61 | -31 | 58.8591 | 71.0243 | 71.3221 | 4369 | -1502 | 843 | 28 | 0.52579 | 21.0243 | 12.9888 | 0.10592 | 0.75381 | 0.33926 | 14 | 14 | 12 | 711
62 | -32 | 58.7532 | 70.2705 | 70.9829 | 4397 | -1490 | 815 | 35 | 0.41986 | 20.2705 | 12.6496 | 0.095707 | 0.74919 | 0.32795 | 15 | 17.5 | 14 | 699
63 | -33 | 58.6575 | 69.5213 | 70.6549 | 4432 | -1476 | 780 | 25 | 0.32416 | 19.5213 | 12.3216 | 0.084821 | 0.74985 | 0.30665 | 16 | 12.5 | 14 | 685
64 | -34 | 58.5727 | 68.7715 | 70.3483 | 4457 | -1462 | 755 | 26 | 0.23933 | 18.7715 | 12.0149 | 0.070707 | 0.74638 | 0.30579 | 17 | 13 | 11 | 671
65 | -35 | 58.502 | 68.0251 | 70.0425 | 4483 | -1451 | 729 | 37 | 0.16863 | 18.0251 | 11.7092 | 0.060504 | 0.71559 | 0.28363 | 18 | 18.5 | 15 | 660
66 | -36 | 58.4415 | 67.3095 | 69.7589 | 4520 | -1436 | 692 | 20 | 0.10812 | 17.3095 | 11.4255 | 0.047478 | 0.63925 | 0.27249 | 19 | 10 | 14 | 645
67 | -37 | 58.394 | 66.6702 | 69.4864 | 4540 | -1422 | 672 | 22 | 0.060645 | 16.6702 | 11.153 | 0.033373 | 0.64525 | 0.26001 | 20 | 11 | 8 | 631
68 | -38 | 58.3606 | 66.025 | 69.2264 | 4562 | -1414 | 650 | 27 | 0.027273 | 16.025 | 10.893 | 0.017455 | 0.65944 | 0.2597 | 21 | 13.5 | 17 | 623
69 | -39 | 58.3432 | 65.3656 | 68.9667 | 4589 | -1397 | 623 | 17 | 0.0098175 | 15.3656 | 10.6333 | 0.0078129 | 0.66169 | 0.2512 | 22 | 8.5 | 15 | 606
70 | -40 | 58.3353 | 64.7039 | 68.7155 | 4606 | -1382 | 606 | 112 | 0.0020046 | 14.7039 | 10.3821 | 0.0020046 | 2.8161 | 1.1482 | 23 | 56 | 101 | 591
75 | -45 | 58.3333 | 61.8877 | 67.5672 | 4718 | -1281 | 494 | 89 | 0 | 11.8877 | 9.2339 | 0 | 2.9845 | 0.89545 | 28 | 44.5 | 89 | 490
80 | -50 | 58.3333 | 58.9033 | 66.6718 | 4807 | -1192 | 405 | 83 | 0 | 8.9033 | 8.3384 | 0 | 2.5858 | 0.68656 | 33 | 41.5 | 92 | 401
85 | -55 | 58.3333 | 56.3174 | 65.9852 | 4890 | -1100 | 322 | 51 | 0 | 6.3174 | 7.6519 | 0 | 2.2097 | 0.66496 | 38 | 25.5 | 60 | 309
90 | -60 | 58.3333 | 54.1077 | 65.3202 | 4941 | -1040 | 271 | 38 | 0 | 4.1077 | 6.9869 | 0 | 1.5435 | 0.79144 | 43 | 19 | 30 | 249
95 | -65 | 58.3333 | 52.5643 | 64.5288 | 4979 | -1010 | 233 | 34 | 0 | 2.5643 | 6.1955 | 0 | 1.2168 | 0.76737 | 48 | 17 | 27 | 219
100 | -70 | 58.3333 | 51.3474 | 63.7614 | 5013 | -983 | 199 | 34 | 0 | 1.3474 | 5.4281 | 0 | 0.80506 | 0.74168 | 53 | 17 | 30 | 192
105 | -75 | 58.3333 | 50.5424 | 63.0198 | 5047 | -953 | 165 | 30 | 0 | 0.54239 | 4.6864 | 0 | 0.42246 | 0.71676 | 58 | 15 | 25 | 162
110 | -80 | 58.3333 | 50.1199 | 62.303 | 5077 | -928 | 135 | 26 | 0 | 0.11992 | 3.9697 | 0 | 0.11735 | 0.82209 | 63 | 13 | 21 | 137
115 | -85 | 58.3333 | 50.0026 | 61.4809 | 5103 | -907 | 109 | 22 | 0 | 0.0025721 | 3.1476 | 0 | 0.0025721 | 0.88754 | 68 | 11 | 23 | 116
120 | -90 | 58.3333 | 50 | 60.5934 | 5125 | -884 | 87 | 15 | 0 | 0 | 2.26 | 0 | 0 | 0.6071 | 73 | 7.5 | 20 | 93
125 | -95 | 58.3333 | 50 | 59.9863 | 5140 | -864 | 72 | 10 | 0 | 0 | 1.6529 | 0 | 0 | 0.54604 | 78 | 5 | 16 | 73
130 | -100 | 58.3333 | 50 | 59.4402 | 5150 | -848 | 62 | 10 | 0 | 0 | 1.1069 | 0 | 0 | 0.47894 | 83 | 5 | 15 | 57
135 | -105 | 58.3333 | 50 | 58.9613 | 5160 | -833 | 52 | 6 | 0 | 0 | 0.62795 | 0 | 0 | 0.41332 | 88 | 3 | 10 | 42
140 | -110 | 58.3333 | 50 | 58.548 | 5166 | -823 | 46 | 4 | 0 | 0 | 0.21463 | 0 | 0 | 0.21628 | 93 | 2 | 2 | 32
145 | -115 | 58.3333 | 50 | 58.3317 | 5170 | -821 | 42 | 2 | 0 | 0 | -0.00165 | 0 | 0 | -0.00165 | 98 | 1 | 2 | 30
150 | -120 | 58.3333 | 50 | 58.3333 | 5172 | -819 | 40 | 3 | 0 | 0 | 0 | 0 | 0 | 0.0057208 | 103 | 1.5 | 2 | 28
155 | -125 | 58.3333 | 50 | 58.3276 | 5175 | -817 | 37 | 2 | 0 | 0 | -0.0057208 | 0 | 0 | -0.0057208 | 108 | 1 | 1 | 26
160 | -130 | 58.3333 | 50 | 58.3333 | 5177 | -816 | 35 | 7 | 0 | 0 | 0 | 0 | 0 | 0.0023042 | 113 | 3.5 | 5 | 25
180 | -150 | 58.3333 | 50 | 58.331 | 5184 | -811 | 28 | 5 | 0 | 0 | -0.0023042 | 0 | 0 | -0.0022042 | 133 | 2.5 | 3 | 20
200 | -170 | 58.3333 | 50 | 58.3332 | 5189 | -808 | 23 | 4 | 0 | 0 | -0.0001 | 0 | 0 | -0.0001 | 153 | 2 | 3 | 17
220 | -190 | 58.3333 | 50 | 58.3333 | 5193 | -805 | 19 | 19 | 0 | 0 | 0 | 58.3333 | 50 | 58.3333 | 173 | 9.5 | 0 | 14
[5 empty] | 5212 | -791
Given a standard sized house and standard active surface placement. How does the distance of a tree from the base of the house in the east and west direction affect the shading which occurs on the active surface?
Shading beg.
T1: X = -17, Y = 0, D = 28, H = 66
T2: X = 47, Y = 0, D = 28, H = 66
Results: In the East West Direction - Tree shading always trends towards the constant of no shading, but at different rates. If trees only covered 50% on east west direction the rate does not change but the inital maximum is reduced by the % initial tree coverage. Energy production is a log. As trees go furthur away from the active surface their effect on energy production becomes less prononunced

## Shading Experiment 2
Y @ T1 | Shading Day 0 | Shading Day 150 | Shading Day 250 | Year 1 Annual Energy | Net Present Value | Normal - Shaded | Change in Energy | Shading Day 0 Close - None | Shading Day 150 Close - None | Shading Day 250 Close - None | Change in Day 0 | Change in Day 150 | Change in Day 250 | Y Val
-17 | 82.2358 | 60.5282 | 67.1007 | 2706 | -2949 | 2506 | 50 | 23.9024 | 10.5282 | 17.1007 | 0.51191 | 0.65366 | 0.62909 | 0 | 0 | 138 | 2158
-17.5 | 81.7238 | 59.8745 | 66.4716 | 2756 | -2811 | 2456 | 56 | 23.3905 | 9.8745 | 16.4716 | 0.51071 | 0.65891 | 0.58118 | -0.5 | 0.5 | 2 | 2020
-18 | 81.2131 | 59.2156 | 65.8904 | 2812 | -2809 | 2400 | 54 | 22.8798 | 9.2156 | 15.8904 | 0.50005 | 0.72433 | 0.53121 | -1 | 1 | 71 | 2018
-18.5 | 80.7131 | 58.4913 | 65.3592 | 2866 | -2738 | 2346 | 56 | 22.3798 | 8.4913 | 15.3592 | 0.48526 | 0.7 | 0.49918 | -1.5 | 1.5 | 61 | 1947
-19 | 80.2278 | 57.7913 | 64.86 | 2922 | -2677 | 2290 | 53 | 21.8945 | 7.7913 | 14.86 | 0.44834 | 0.6751 | 0.46995 | -2 | 2 | 80 | 1886
-19.5 | 79.7795 | 57.1162 | 64.3901 | 2975 | -2597 | 2237 | 60 | 21.4462 | 7.1162 | 14.3901 | 0.41962 | 0.63285 | 0.43881 | -2.5 | 2.5 | 76 | 1806
-20 | 79.3599 | 56.4833 | 63.9513 | 3035 | -2521 | 2177 | 57 | 21.0265 | 6.4833 | 13.9513 | 0.3755 | 0.59883 | 0.41415 | -3 | 3 | 71 | 1730
-20.5 | 78.9844 | 55.8845 | 63.5371 | 3092 | -2450 | 2120 | 59 | 20.651 | 5.8845 | 13.5371 | 0.35347 | 0.56392 | 0.3964 | -3.5 | 3.5 | 73 | 1659
-21 | 78.6309 | 55.3206 | 63.1407 | 3151 | -2377 | 2061 | 52 | 20.2976 | 5.3206 | 13.1407 | 0.32481 | 0.53529 | 0.36647 | -4 | 4 | 66 | 1586
-21.5 | 78.3061 | 54.7853 | 62.7743 | 3203 | -2311 | 2009 | 49 | 19.9728 | 4.7853 | 12.7743 | 0.31999 | 0.50939 | 0.33912 | -4.5 | 4.5 | 61 | 1520
-22 | 77.9861 | 54.2759 | 62.4351 | 3252 | -2250 | 1960 | 68 | 19.6528 | 4.2759 | 12.4351 | 0.30816 | 0.49182 | 0.32095 | -5 | 5 | 84 | 1459
-22.5 | 77.6779 | 53.7841 | 62.1142 | 3320 | -2166 | 1892 | 47 | 19.3446 | 3.7841 | 12.1142 | 0.31916 | 0.46684 | 0.30847 | -5.5 | 5.5 | 60 | 1375
-23 | 77.3588 | 53.3172 | 61.8057 | 3367 | -2106 | 1845 | 49 | 19.0254 | 3.3172 | 11.8057 | 0.31312 | 0.4331 | 0.28769 | -6 | 6 | 55 | 1315
-23.5 | 77.0457 | 52.8841 | 61.518 | 3416 | -2051 | 1796 | 53 | 18.7123 | 2.8841 | 11.518 | 0.3179 | 0.41801 | 0.26661 | -6.5 | 6.5 | 83 | 1260
-24 | 76.7277 | 52.4661 | 61.2514 | 3469 | -1968 | 1743 | 60 | 18.3944 | 2.4661 | 11.2514 | 0.32085 | 0.39484 | 0.25907 | -7 | 7 | 54 | 1177
-24.5 | 76.4069 | 52.0713 | 60.9923 | 3529 | -1914 | 1683 | 51 | 18.0736 | 2.0713 | 10.9923 | 0.32284 | 0.36306 | 0.25511 | -7.5 | 7.5 | 62 | 1123
-25 | 76.0841 | 51.7082 | 60.7372 | 3580 | -1852 | 1632 | 94 | 17.7507 | 1.7082 | 10.7372 | 0.6322 | 0.65944 | 0.49212 | -8 | 8 | 112 | 1061
-26 | 75.4519 | 51.0488 | 60.2451 | 3674 | -1740 | 1538 | 93 | 17.1185 | 1.0488 | 10.2451 | 0.6074 | 0.55017 | 0.50381 | -9 | 9 | 111 | 949
-27 | 74.8444 | 50.4986 | 59.7413 | 3767 | -1629 | 1445 | 77 | 16.5111 | 0.49859 | 9.7413 | 0.57638 | 0.38061 | 0.51733 | -10 | 10 | 93 | 838
-28 | 74.2681 | 50.118 | 59.224 | 3844 | -1536 | 1368 | 73 | 15.9347 | 0.11798 | 9.224 | 0.54511 | 0.11798 | 0.54264 | -11 | 11 | 86 | 745
-29 | 73.723 | 50 | 58.6813 | 3917 | -1450 | 1295 | 57 | 15.3896 | 0 | 8.6813 | 0.51242 | 0 | 0.58871 | -12 | 12 | 68 | 659
-30 | 73.2105 | 50 | 58.0926 | 3974 | -1382 | 1238 | 59 | 14.8772 | 0 | 8.0926 | 0.48117 | 0 | 0.7785 | -13 | 13 | 69 | 591
-31 | 72.7294 | 50 | 57.3141 | 4033 | -1313 | 1179 | 60 | 14.396 | 0 | 7.3141 | 0.44594 | 0 | 0.85402 | -14 | 14 | 70 | 522
-32 | 72.2834 | 50 | 56.4601 | 4093 | -1243 | 1119 | 45 | 13.9501 | 0 | 6.4601 | 0.40527 | 0 | 0.81853 | -15 | 15 | 53 | 452
-33 | 71.8782 | 50 | 55.6416 | 4138 | -1190 | 1074 | 42 | 13.5448 | 0 | 5.6416 | 0.37852 | 0 | 0.79176 | -16 | 16 | 50 | 399
-34 | 71.4996 | 50 | 54.8498 | 4180 | -1140 | 1032 | 46 | 13.1663 | 0 | 4.8498 | 0.36058 | 0 | 0.7613 | -17 | 17 | 52 | 349
-35 | 71.139 | 50 | 54.0885 | 4226 | -1088 | 986 | 45 | 12.8057 | 0 | 4.0885 | 0.35175 | 0 | 0.72808 | -18 | 18 | 52 | 297
-36 | 70.7873 | 50 | 53.3604 | 4271 | -1036 | 941 | 54 | 12.454 | 0 | 3.3604 | 0.3507 | 0 | 0.70044 | -19 | 19 | 60 | 245
-37 | 70.4366 | 50 | 52.66 | 4325 | -976 | 887 | 37 | 12.1033 | 0 | 2.66 | 0.34769 | 0 | 0.64553 | -20 | 20 | 11 | 185
-38 | 70.0889 | 50 | 52.0145 | 4362 | -965 | 850 | 46 | 11.7556 | 0 | 2.0145 | 0.3401 | 0 | 0.57652 | -21 | 21 | 6 | 174
-39 | 69.7488 | 50 | 51.438 | 4408 | -959 | 804 | 31 | 11.4155 | 0 | 1.438 | 0.32986 | 0 | 0.4925 | -22 | 22 | 9 | 168
-40 | 69.4189 | 50 | 50.9455 | 4439 | -950 | 773 | 64 | 11.0856 | 0 | 0.94545 | 0.59531 | 0 | 0.74914 | -23 | 23 | 15 | 159
-42 | 68.8236 | 50 | 50.1963 | 4503 | -935 | 709 | 54 | 10.4903 | 0 | 0.19632 | 0.50011 | 0 | 0.19632 | -25 | 25 | 12 | 144
-44 | 68.3235 | 50 | 50 | 4557 | -923 | 655 | 58 | 9.9902 | 0 | 0 | 0.40789 | 0 | 0 | -27 | 27 | 10 | 132
-46 | 67.9156 | 50 | 50 | 4615 | -913 | 597 | 53 | 9.5823 | 0 | 0 | 0.33938 | 0 | 0 | -29 | 29 | 11 | 122
-48 | 67.5763 | 50 | 50 | 4668 | -902 | 544 | 42 | 9.2429 | 0 | 0 | 0.30721 | 0 | 0 | -31 | 31 | 11 | 111
-50 | 67.269 | 50 | 50 | 4710 | -891 | 502 | 89 | 8.9357 | 0 | 0 | 0.7555 | 0 | 0 | -33 | 33 | 23 | 100
-55 | 66.5135 | 50 | 50 | 4799 | -868 | 413 | 69 | 8.1802 | 0 | 0 | 0.75865 | 0 | 0 | -38 | 38 | 14 | 77
-60 | 65.7549 | 50 | 50 | 4868 | -854 | 344 | 58 | 7.4216 | 0 | 0 | 0.7584 | 0 | 0 | -43 | 43 | 10 | 63
-65 | 64.9965 | 50 | 50 | 4926 | -844 | 286 | 55 | 6.6632 | 0 | 0 | 0.70977 | 0 | 0 | -48 | 48 | 10 | 53
-70 | 64.2867 | 50 | 50 | 4981 | -834 | 231 | 83 | 5.9534 | 0 | 0 | 1.2104 | 0 | 0 | -53 | 53 | 14 | 43
-80 | 63.0763 | 50 | 50 | 5064 | -820 | 148 | 68 | 4.743 | 0 | 0 | 1.692 | 0 | 0 | -63 | 63 | 11 | 29
-90 | 61.3844 | 50 | 50 | 5132 | -809 | 80 | 43 | 3.051 | 0 | 0 | 2.1172 | 0 | 0 | -73 | 73 | 6 | 18
-100 | 59.2672 | 50 | 50 | 5175 | -803 | 37 | 118 | 0.93384 | 0 | 0 | 0.93384 | 0 | 0 | -83 | 83 | 3 | 12
-110 | 58.3333 | 50 | 50 | 5293 | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -93 | 93 | 800 | 9
|  |  |  | 5212 | -791
Given a standard sized house and standard active surface placement. How does the distance of a tree from the base of the house in southern direction affect the shading which occurs on the active surface?
T1: X = 15, Y = -17, D = 31, H = 66 (100% coverage)

## Tree -> kWh
[5 empty] | N | [5 empty] | System |  |  | East | West | South
[11 empty] | Annual Energy | 5206 | kWh | 0 | 0 | 0
[11 empty] | Capacity Factor | 15.4% |  | 1 | 1 | 1
| x | x | x | HOUSE | HOUSE | HOUSE | x | x | x |  | Energy Yield | 1351 | kWh/kW | 2 | 2 | 2
W | x | x | x | HOUSE | HOUSE | HOUSE | x | x | x | E | Preformance Ratio | 0.8 |  | 3 | 3 | 3
| x | x | x | HOUSE | HOUSE | HOUSE | x | x | x |  |  |  |  | 4 | 4 | 4
|  |  |  | x | x | x | [7 empty] | 5 | 5 | 5
|  |  |  | x | x | x | [7 empty] | 6 | 6 | 6
|  |  |  | x | x | x | [7 empty] | 7 | 7 | 7
[5 empty] | S | [8 empty] | 8 | 8 | 8
Defining Tree Placements | [13 empty] | 9 | 9 | 9
| W/S/E | % Coverage | Distance |  |  | System Annual Energy Loss From Shading |  |  |  |  | Tree C02 Absorbtion |  |  | 10 | 10 | 10
T1 | W | 0.6 | 11 |  |  | 499.3 |  |  |  |  | 96 | Pounds |  | 11 | 11 | 11
T2 | S | 0.4 | 31 |  |  | New System Annual Energy |  |  |  |  | Solar Panel C02 Savings |  |  | 12 | 12 | 12
T3 | [5 empty] | 4706.7 |  |  |  |  | 4404.276 | Pounds |  | 13 | 13 | 13
T4 | [5 empty] | kWh cost per tree |  | $ Cost per tree |  |  | How many trees for annual carbon equilibrium? |  |  | 14 | 14 | 14
T5 | [5 empty] | T1 | 281.7 | 226.2 |  |  | 45.8779 | Trees |  | 15 | 15 | 15
[6 empty] | T2 | 217.6 | 44.4 | [5 empty] | 16 | 16 | 16
[6 empty] | T3 |  |  |  |  | Cost per tree |  |  | 17 | 17 | 17
[6 empty] | T4 |  |  |  |  | 500 |  |  | 18 | 18 | 18
[6 empty] | T5 |  |  |  |  | $/kWh of a tree |  |  | 19 | 19 | 19
[11 empty] | 1.7749 |  |  | 20 | 20 | 20
[11 empty] | 2.2978 |  |  | 21 | 21 | 21
[14 empty] | 22 | 22 | 22
[14 empty] | 23 | 23 | 23
[14 empty] | 24 | 24 | 24
[14 empty] | 25 | 25 | 25
[14 empty] | 26 | 26 | 26
[14 empty] | 27 | 27 | 27
[14 empty] | 28 | 28 | 28
[14 empty] | 29 | 29 | 29
[14 empty] | 30 | 30 | 30
[14 empty] | 31 | 31 | 31
[14 empty] | 32 | 32 | 32
[14 empty] | 33 | 33 | 33
[14 empty] | 34 | 34 | 34
[14 empty] | 35 | 35 | 35
[14 empty] | 36 | 36 | 36
[14 empty] | 37 | 37 | 37
[14 empty] | 38 | 38 | 38
[14 empty] | 39 | 39 | 39
[14 empty] | 40 | 40 | 40
[14 empty] | 41 | 41 | 41
[14 empty] | 42 | 42 | 42
[14 empty] | 43 | 43 | 43
[14 empty] | 44 | 44 | 44
[14 empty] | 45 | 45 | 45
[14 empty] | 46 | 46 | 46
[14 empty] | 47 | 47 | 47
[14 empty] | 48 | 48 | 48
[14 empty] | 49 | 49 | 49
[14 empty] | 50 | 50 | 50
[14 empty] | 51 | 51 | 51
[14 empty] | 52 | 52 | 52
[14 empty] | 53 | 53 | 53
[14 empty] | 54 | 54 | 54
[14 empty] | 55 | 55 | 55
[14 empty] | 56 | 56 | 56
[14 empty] | 57 | 57 | 57
[14 empty] | 58 | 58 | 58
[14 empty] | 59 | 59 | 59
[14 empty] | 60 | 60 | 60
[14 empty] | 61 | 61 | 61
[14 empty] | 62 | 62 | 62
[14 empty] | 63 | 63 | 63
[14 empty] | 64 | 64 | 64
[14 empty] | 65 | 65 | 65
[14 empty] | 66 | 66 | 66
[14 empty] | 67 | 67 | 67
[14 empty] | 68 | 68 | 68
[14 empty] | 69 | 69 | 69
[14 empty] | 70 | 70 | 70
[14 empty] | 71 | 71 | 71
[14 empty] | 72 | 72 | 72
[14 empty] | 73 | 73 | 73
[14 empty] | 74 | 74 | 74
[14 empty] | 75 | 75 | 75
[14 empty] | 76 | 76 | 76
[14 empty] | 77 | 77 | 77
[14 empty] | 78 | 78 | 78
[14 empty] | 79 | 79 | 79
[14 empty] | 80 | 80 | 80
[14 empty] | 81 | 81 | 81
[14 empty] | 82 | 82 | 82
[14 empty] | 83 | 83 | 83
[14 empty] | 84 | 84 | 84
[14 empty] | 85 | 85 | 85
[14 empty] | 86 | 86 | 86
[14 empty] | 87 | 87 | 87
[14 empty] | 88 | 88 | 88
[14 empty] | 89 | 89 | 89
[14 empty] | 90 | 90 | 90
[14 empty] | 91 | 91 | 91
[14 empty] | 92 | 92 | 92
[14 empty] | 93 | 93 | 93
[14 empty] | 94 | 94
[14 empty] | 95 | 95
[14 empty] | 96 | 96
[14 empty] | 97 | 97
[14 empty] | 98 | 98
[14 empty] | 99 | 99
[14 empty] | 100 | 100
[14 empty] | 101 | 101
[14 empty] | 102 | 102
[14 empty] | 103 | 103
[14 empty] | 104 | 104
[14 empty] | 105 | 105
[14 empty] | 106 | 106
[14 empty] | 107 | 107
[14 empty] | 108 | 108
[14 empty] | 109 | 109
[14 empty] | 110 | 110
[14 empty] | 111 | 111
[14 empty] | 112 | 112
[14 empty] | 113 | 113
[14 empty] | 114 | 114
[14 empty] | 115 | 115
[14 empty] | 116 | 116
[14 empty] | 117 | 117
[14 empty] | 118 | 118
[14 empty] | 119 | 119
[14 empty] | 120 | 120
[14 empty] | 121 | 121
[14 empty] | 122 | 122
[14 empty] | 123 | 123
[14 empty] | 124 | 124
[14 empty] | 125 | 125
[14 empty] | 126 | 126
[14 empty] | 127 | 127
[14 empty] | 128 | 128
[14 empty] | 129 | 129
[14 empty] | 130 | 130
[14 empty] | 131 | 131
[14 empty] | 132 | 132
[14 empty] | 133 | 133
[14 empty] | 134 | 134
[14 empty] | 135 | 135
[14 empty] | 136 | 136
[14 empty] | 137 | 137
[14 empty] | 138 | 138
[14 empty] | 139 | 139
[14 empty] | 140 | 140
[14 empty] | 141 | 141
[14 empty] | 142 | 142
[14 empty] | 143 | 143
[14 empty] | 144 | 144
[14 empty] | 145 | 145
[14 empty] | 146 | 146
[14 empty] | 147 | 147
[14 empty] | 148 | 148
[14 empty] | 149 | 149
[14 empty] | 150 | 150
[14 empty] | 151 | 151
[14 empty] | 152 | 152
[14 empty] | 153 | 153
[14 empty] | 154 | 154
[14 empty] | 155 | 155
[14 empty] | 156 | 156
[14 empty] | 157 | 157
[14 empty] | 158 | 158
[14 empty] | 159 | 159
[14 empty] | 160 | 160
[14 empty] | 161 | 161
[14 empty] | 162 | 162
[14 empty] | 163 | 163
[14 empty] | 164 | 164
[14 empty] | 165 | 165
[14 empty] | 166 | 166
[14 empty] | 167 | 167
[14 empty] | 168 | 168
[14 empty] | 169 | 169
[14 empty] | 170 | 170
[14 empty] | 171 | 171
[14 empty] | 172 | 172
[14 empty] | 173 | 173
Coverage %. The tree closest to the house in each direction is complete coverage. If a tree is behind another tree take the coverage % is only the parts of the tree that are unabstructed by the first tree